## Slide 1: Scanning Tunneling Microscopy
David Camparmo

## Slide 2
Overview: History of Microscope
Optical Microscope: Resolution limit 200nm
  Invented in the 17th century
  Uses visible light with lenses to magnify small objects
Scanning Electron Microscope: Resolution limit 2nm
  Developed 1937
  Use a beam of accelerated electrons as a source of illumination
Scanning Tunneling Micro scope: resolution limit 0.2nm
  First developed in 1981
  Uses quantum tunneling to produce images

## Slide 4
What is Tunneling?

## Slide 5
What is Tunneling?

## Slide 6
Scanning Tunneling Microscope

## Slide 7
How Scanning Works
The tip of a STM is brought very close to the sample
which has voltage is applied to it
This voltage allows electrons to tunnel from the sample material to the tip
The Space between the tip of the STM and the sample acts as a barrier
A piezoelectric device is used to move the tip and scan across the surface of the sample

## Slide 9
Images Produced Using STM
Silicone Atoms
Clean Gold Surface